{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Faq"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Faq","index":0,"n_rows":2,"n_cols":3,"rows_kept":2,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["N.ro","Domanda","Risposta"]
[1,"IN RIFERIMENTO ALLA GARA IN CORSO SIAMO A SPECIFICARE CHE I TUBI IN ACCIAIO SONO SALDATI LONGITUDINALMENTE E CONFORMI ALLA NORMA UNI EN 10224 CON RIVESTIMENTO ESTERNO BITUMINOSO PESANTE CONFORME ED INTERNO IN PRIMER DI BITUME SECONDO UNI 5256. INOLTRE LA DOCUMENTAZIONE PRESENTATA NELLA PRECEDENTE GARA SI PUO' INSERIRE IN QUESTA INTEGRANDO LA DOCUMENTAZIONE MANCANTE? ","I tubi devono essere saldati o longitudinalmente o elicoidalmente.\r\nPer quanto concerne la documentazione da presentare, attenersi alla lettera di invito e al manuale di gara"]